Checklist for the CICO Box

3 x 5.0 Melker kits

4 x Leroy devices

5 x 14G IV cannula

5 x 5mL slip lock syringes

2 x no. 10 scalpels

2 x Frova bougies

2 x Rapi-fit connectors

2 x 6.0 COETTs

Lots of Frova Trainer skin

Also check:

* How many self-inflating bags are there – need 5
* Any spare Ambu-scope
* Any spare glidescope